## Slide 1
Thermally Driven Heat Pumps
La soluzione per il retrofit sostenibile
1 Dicembre 2022
@ Regione Lombardia - Milano
Luigi Tischer
R&D Senior Director
Ariston Group

## Slide 2
Thermally Driven Heat Pumps
La soluzione per il retrofit sostenibile

## Slide 3: Transizione Energetica

## Slide 4: Building Stock and Energy Transition (example of ITALY @2020)

## Slide 5: Distribuzione della popolazione
Number of cities for Climate Zone
A | >5
B | 4
C | 0
D | -1
E | -6
F | -13
Average Project Temperature per Climate Zones [°C]
A | 2
B | 153
C | 981
D | 1607
E | 4272
F | 1073
More than 66% of Italian cities are in E and F Climate Zone:
52,8% in E with an average Temp. project of -6°C
13,3% in F with an average Temp. project of -13°C
Tot. 8088

## Slide 6: Infrastruttura energetica (esempio Italia)
Picture courtesy of SNAM
200
50
100
0
150
GW

## Slide 7: Conclusions about drivers
The largest heating market in Europe is the retrofit segment, where low-efficiency heating systems are installed. Renovating and upgrading this building stock to a lower energy consumption profile will be one of the biggest challenges of the coming years.
Current solutions based on electric heat pumps might not be sufficient to completely fulfill this task.
Thermally Driven Heat Pumps are one of the few solutions which can guarantee high efficiency and high power even in high-temperature applications.
It can be considered as the ultimate hybrid solution by natively and intimately integrating the combustion technology with the heat pump thermodynamic cycle

## Slide 8: Energia rinnovabile ed Energia primaria (today: Nat Gas, LPG and H2 blend 20%) in future 100%H2)
BOILER
100
90
10
TDHP
100
SPER=125
5
30
EHP
100
40
40
chemical > thermal > mechanical > electrical > mechanical > thermal
SCOP =3,1
SPER = 125
85
60
chemical > thermal
chemical > thermal

## Slide 9: Innovazione tecnologica
Renewable Energy
3°Innovation Wave
Electrical Heat Pumps and Thermally Driven Heat Pumps
1°Innovation Wave
Standard Gas Boiler
2°Innovation Wave
Condensing Gas Boiler
Innovators
Early
Majority
Late
Majority
Decline
Business
Innovation
Innovation
Today
Early 90s
H2, BioX
Renewable
molecular vector
Central/Hydronic
Heating Solutions
50-70s
Future
Oil
SOLAR
WIND
Renewable
electrical
Vector
Natural Gas
Heating
Oil Boiler
Notes: The use of energy vectors (electricity and gas vectors) with higher energy efficiency is part of the expected evolution of the industry.
There are no clean or dirty energy conversion technology (= heating appliances). It is the energy vector that can be more or less green.
The use of hydrogen blend and or bio-methane or bio-LPG can be accelerated by a more efficient energy conversion appliance.

## Slide 10: Lombhe@t: Ricerca per consentire prodotti reali
ELCO THALION (DE, CH) ATAG THERMION (NL)
15kW
ARISTON ELOGOS (IT, FR)
10kW

## Slide 11: Lombhe@t: risultati ottenuti
Vantaggi resi disponibili:
Utilizzo del Principio “Pompa di Calore”
Utilizzo di Energia Rinnovabile
Efficienza energetica anche con radiatori
Potenza termica anche con radiatori
Ridotti costi di esercizio (-30-40%)
Affidabilità (assenza di parti in movimento)
Funzionamento silenzioso (assenza di compressore e ridotto flusso dell’aria)
Basse emissioni (CO2, NOx, PMs, F-GAS)
Compatibile con evoluzione dei green gases (BioMetano, Bio-GPL, H2 Blend e H2 100%)
Notes: Siamo partiti da un brevetto di Albert Einstein e Leo Zilard,
che consente di avere ottenere rilevanti vantaggi…
…e lo abbiamo confezionato in un package adatta alle applicazioni residenziali

## Slide 12: Lombhe@t: innovazione tecnologica per la decarbonizzazione
Easy retrofit solution for customers
High efficient solution that lowers bills for customers.
Simultaneously low operating costs and low emissions
Use of renewable energy while reducing gas consumption and dependency. Enabling green hydrogen potential
TDHPs on hydrogen maximize the efficient use of gas grid to heat more buildings
Suitable for existing “Gas Service” organizations

## Slide 13: Grazie
www.theheatingsolution.com
More info about TDHP technology and TDHP products on:
https://www.ehpa.org/publications/report-thermally-driven-heat-pump-technology/